## Test Description
Engineer | Name
Date | 2017-05-01
Project | AMP10
Control Card
Serial Number
Drive part number | Instaspin w/ 8305 booster pack
Firmware part number
Differential Pressure inst.
Static Pressure instrument
Power Supply, blower
Power Supply, spd control
Voltage Measurement
Speed/tach Measurement
Blower notes:
Motor notes:

## Data entry
Standard Conditions |  |  | Differential Pressure | Static Pressure | Voltage | Current | Speed |  | Power | Airflow | Static Pressure, standard | Power, standard | Total Efficiency | Nozzle 1 diameter | Area 1 | a 1 | Y 1 | b 1 | Re 1 | C 1 | Airflow 1 | Nozzle 2 diameter | Area 2 | a 2 | Y 2 | b 2 | Re 2 | C 2 | Airflow 2 | Nozzle 3 diameter | Area 3 | a 3 | Y 3 | b 3 | Re 3 | C 3 | Airflow 3
Temperature, Tstd | 70 | °F
Barometric Pressure, Pstd | 29.92 | inches Hg | inches H2O | inches H2O | V | A | Hz | RPM | W | ft3/min | inches H2O | W | % | inches | ft2 | [5 empty] | ft3/min | inches | ft2 | [5 empty] | ft3/min | inches | ft2 | [5 empty] | ft3/min
Density, rstd | 0.07516 | lbm/ft3 | 0 | 7.78 | 30 | 0.27 | 347.5 | 20850 | 8.1 | 0 | 8.3376 | 8.6805 | 0 | 0.375 | 0.00076699 | 1 | 1 | 0.0125 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0
|  |  | 0.22 | 7.98 | 30 | 0.32 | 347.5 | 20850 | 9.6 | 1.3808 | 8.5519 | 10.288 | 13.4842 | 0.375 | 0.00076699 | 0.99942 | 0.99968 | 0.0125 | 5290.7867 | 0.92772 | 1.3808 |  | 0 | 0.99942 | 0.99968 | 0 | 0 | #DIV/0! | 0 |  | 0 | 0.99942 | 0.99968 | 0 | 0 | #DIV/0! | 0
Laboratory Conditions |  |  | 0.45 | 8.08 | 30 | 0.35 | 347.5 | 20850 | 10.5 | 1.9914 | 8.6591 | 11.2525 | 18.0034 | 0.375 | 0.00076699 | 0.99882 | 0.99935 | 0.0125 | 7566.8508 | 0.93585 | 1.9914 |  | 0 | 0.99882 | 0.99935 | 0 | 0 | #DIV/0! | 0 |  | 0 | 0.99882 | 0.99935 | 0 | 0 | #DIV/0! | 0
Temperature, Tlab | 68.5 | °F | 0.65 | 8.15 | 30 | 0.39 | 347.5 | 20850 | 11.7 | 2.4032 | 8.7341 | 12.5385 | 19.6663 | 0.375 | 0.00076699 | 0.99829 | 0.99907 | 0.0125 | 9094.2228 | 0.93993 | 2.4032 |  | 0 | 0.99829 | 0.99907 | 0 | 0 | #DIV/0! | 0 |  | 0 | 0.99829 | 0.99907 | 0 | 0 | #DIV/0! | 0
Barometric Pressure, Plab | 27.84 | inches Hg | 0.87 | 8.19 | 30 | 0.4 | 347.5 | 20850 | 12 | 2.7887 | 8.777 | 12.86 | 22.3601 | 0.375 | 0.00076699 | 0.99772 | 0.99875 | 0.0125 | 10521.279 | 0.94309 | 2.7887 |  | 0 | 0.99772 | 0.99875 | 0 | 0 | #DIV/0! | 0 |  | 0 | 0.99772 | 0.99875 | 0 | 0 | #DIV/0! | 0
Density, rlab | 0.070134 | lbm/ft3 | 1.03 | 8.22 | 30 | 0.42 | 347.5 | 20850 | 12.6 | 3.0394 | 8.8091 | 13.503 | 23.2945 | 0.375 | 0.00076699 | 0.9973 | 0.99852 | 0.0125 | 11447.9447 | 0.94488 | 3.0394 |  | 0 | 0.9973 | 0.99852 | 0 | 0 | #DIV/0! | 0 |  | 0 | 0.9973 | 0.99852 | 0 | 0 | #DIV/0! | 0
|  |  | 1.25 | 8.23 | 30 | 0.43 | 347.5 | 20850 | 12.9 | 3.3544 | 8.8198 | 13.8245 | 25.1411 | 0.375 | 0.00076699 | 0.99672 | 0.9982 | 0.0125 | 12611.418 | 0.94689 | 3.3544 |  | 0 | 0.99672 | 0.9982 | 0 | 0 | #DIV/0! | 0 |  | 0 | 0.99672 | 0.9982 | 0 | 0 | #DIV/0! | 0
Density Ratio, rstd/rlab | 1.0717 |  | 1.51 | 8.24 | 30 | 0.45 | 347.5 | 20850 | 13.5 | 3.6928 | 8.8306 | 14.4675 | 26.4799 | 0.375 | 0.00076699 | 0.99604 | 0.99783 | 0.0125 | 13861.0901 | 0.9488 | 3.6928 |  | 0 | 0.99604 | 0.99783 | 0 | 0 | #DIV/0! | 0 |  | 0 | 0.99604 | 0.99783 | 0 | 0 | #DIV/0! | 0
|  |  | 1.76 | 8.23 | 29.9 | 0.47 | 347.5 | 20850 | 14.053 | 3.9918 | 8.8198 | 15.0602 | 27.4638 | 0.375 | 0.00076699 | 0.99538 | 0.99747 | 0.0125 | 14964.6046 | 0.95032 | 3.9918 |  | 0 | 0.99538 | 0.99747 | 0 | 0 | #DIV/0! | 0 |  | 0 | 0.99538 | 0.99747 | 0 | 0 | #DIV/0! | 0
Speed pulses per revolution | 1 |  | 1.98 | 8.21 | 29.9 | 0.48 | 347.5 | 20850 | 14.352 | 4.2377 | 8.7984 | 15.3806 | 28.4789 | 0.375 | 0.00076699 | 0.9948 | 0.99715 | 0.0125 | 15872.3601 | 0.95147 | 4.2377 |  | 0 | 0.9948 | 0.99715 | 0 | 0 | #DIV/0! | 0 |  | 0 | 0.9948 | 0.99715 | 0 | 0 | #DIV/0! | 0
|  |  | 2.2 | 8.18 | 29.9 | 0.5 | 347.5 | 20850 | 14.95 | 4.4702 | 8.7663 | 16.0215 | 28.7347 | 0.375 | 0.00076699 | 0.99423 | 0.99684 | 0.0125 | 16730.9366 | 0.95248 | 4.4702 |  | 0 | 0.99423 | 0.99684 | 0 | 0 | #DIV/0! | 0 |  | 0 | 0.99423 | 0.99684 | 0 | 0 | #DIV/0! | 0
|  |  | 2.44 | 8.13 | 29.9 | 0.51 | 347.5 | 20850 | 15.249 | 4.7109 | 8.7127 | 16.3419 | 29.5068 | 0.375 | 0.00076699 | 0.9936 | 0.99649 | 0.0125 | 17619.9157 | 0.95346 | 4.7109 |  | 0 | 0.9936 | 0.99649 | 0 | 0 | #DIV/0! | 0 |  | 0 | 0.9936 | 0.99649 | 0 | 0 | #DIV/0! | 0
|  |  | 2.64 | 8.11 | 29.9 | 0.52 | 347.5 | 20850 | 15.548 | 4.9026 | 8.6912 | 16.6623 | 30.0424 | 0.375 | 0.00076699 | 0.99307 | 0.9962 | 0.0125 | 18327.8227 | 0.95419 | 4.9026 |  | 0 | 0.99307 | 0.9962 | 0 | 0 | #DIV/0! | 0 |  | 0 | 0.99307 | 0.9962 | 0 | 0 | #DIV/0! | 0
|  |  | 2.88 | 8.04 | 29.9 | 0.53 | 347.5 | 20850 | 15.847 | 5.1231 | 8.6162 | 16.9827 | 30.5356 | 0.375 | 0.00076699 | 0.99244 | 0.99586 | 0.0125 | 19142.7865 | 0.95499 | 5.1231 |  | 0 | 0.99244 | 0.99586 | 0 | 0 | #DIV/0! | 0 |  | 0 | 0.99244 | 0.99586 | 0 | 0 | #DIV/0! | 0
|  |  | 3.06 | 8.02 | 29.9 | 0.55 | 347.5 | 20850 | 16.445 | 5.2824 | 8.5948 | 17.6236 | 30.2649 | 0.375 | 0.00076699 | 0.99197 | 0.9956 | 0.0125 | 19731.9327 | 0.95555 | 5.2824 |  | 0 | 0.99197 | 0.9956 | 0 | 0 | #DIV/0! | 0 |  | 0 | 0.99197 | 0.9956 | 0 | 0 | #DIV/0! | 0
|  |  | 3.16 | 7.99 | 29.9 | 0.55 | 347.5 | 20850 | 16.445 | 5.3689 | 8.5626 | 17.6236 | 30.6453 | 0.375 | 0.00076699 | 0.99171 | 0.99545 | 0.0125 | 20051.758 | 0.95584 | 5.3689 |  | 0 | 0.99171 | 0.99545 | 0 | 0 | #DIV/0! | 0 |  | 0 | 0.99171 | 0.99545 | 0 | 0 | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0.375 | 0.00076699 | 1 | 1 | 0.0125 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0.375 | 0.00076699 | 1 | 1 | 0.0125 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0.375 | 0.00076699 | 1 | 1 | 0.0125 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0.375 | 0.00076699 | 1 | 1 | 0.0125 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0.375 | 0.00076699 | 1 | 1 | 0.0125 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0.375 | 0.00076699 | 1 | 1 | 0.0125 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0.375 | 0.00076699 | 1 | 1 | 0.0125 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0.375 | 0.00076699 | 1 | 1 | 0.0125 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0.375 | 0.00076699 | 1 | 1 | 0.0125 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 1 | 0.0054542 | 1 | 1 | 0.033333 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 1 | 0.0054542 | 1 | 1 | 0.033333 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 1 | 0.0054542 | 1 | 1 | 0.033333 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 1 | 0.0054542 | 1 | 1 | 0.033333 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 1 | 0.0054542 | 1 | 1 | 0.033333 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 1 | 0.0054542 | 1 | 1 | 0.033333 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 1 | 0.0054542 | 1 | 1 | 0.033333 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 1 | 0.0054542 | 1 | 1 | 0.033333 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0 |  | 0 | 1 | 1 | 0 | 0 | #DIV/0! | 0